# Assignment – Data in the workplace

Assessment event 3 of 3

# Trainer & Assessor Marking Guide

## Criteria

### Unit code, name and release number

MSS024016 - Process and present environmental data 			Release 1

### Qualification/Course code, name and release number

MSS50218 - Diploma of Environmental monitoring and technology	Release 1

Version:	1.0

Date created:	1 November 2018

Date modified:	13/01/2020

For queries, please contact:

Innovative Manufacturing, Robotics and Science Skills Point

TAFE Hamilton Campus

© 2018 TAFE NSW, Sydney
RTO Provider Number 90003 | CRICOS Provider Code: 00591E

This assessment can be found in the: Learning Bank

The contents of this document are copyright © TAFE NSW 2018, and should not be reproduced without the permission of the TAFE NSW. Information contained in this document is correct at time of printing: 13 January 2020. For current information please refer to our website or your teacher as appropriate.

## Assessment instructions

Table 1 Assessment instructions

| Assessment details | Instructions |
| --- | --- |
| Instructions for the trainer and assessor | This is a written assessment and will be assessing the student on their ability to perform a complete sequence of data treatments and assessments in a workplace environment. This assessment has 6 Parts. It is open book. Model answers, sample responses or a criteria for each question are provided below. Use these to support your judgement when determining a satisfactory result. The student’s response to each question must contain the information indicated in this marking guide in order for their response to be correct. However, if a student provides information other than indicated below, and in the professional opinion of the assessor it is appropriate and meets the intent of the question, it may be considered correct. The assessment feedback page must be signed by both the student and the assessor so the student displays that they have received, understood and accepted the feedback. Complete the assessment feedback to the student and ensure you have taken a copy of the assessment prior to it being returned to the student. |
| About this marking guide | The student’s response to each question must contain the information indicated in this marking guide in order for their response to be correct. All questions must be answered correctly in order to satisfactorily complete this assessment event. Assessors will need to make a judgement call as to whether each answer/response meets the criteria based upon the: - Rules of Evidence: - Validity – does the answer address the assessment question and does the evidence reflect the four dimensions of competency? - Sufficiency – is the answer sufficient in terms of length and depth? - Currency – has the work been done so recently as to be current? - Authenticity – is this work the student’s own authentic work? - Principles of Assessment: - Fairness – individual student’s needs are considered in the assessment process - Flexibility – assessment is flexible to the individual student - Validity – any assessment decision is justified, based on the evidence of performance of the student - Reliability – evidence presented for assessment is consistently interpreted and assessment results are comparable irrespective of the assessor conducting the assessment - Dimensions of competency - Task skills - Task Management Skills - Contingency Planning Skills - Job Role Environment Skills |
| Student must provide | Students must provide calculator and writing materials. Students must provide their own IT if working off campus. |
| Assessor must provide | The assessor will provide; - Access to computer room/classroom as required with Microsoft Access, Excel, Word and Adobe acrobat with internet connection - Access to Standard Operating Procedures (SOP’s) for data handling - Instructions on how to access the assignment database. |
| Time allowed | It is expected that this assessment will be performed in the student’s own time. The due date for this assessment will be no later than the second last week of the semester it was started in. |

## Specific task instructions

The instructions below will be used by the assessor to determine whether you have satisfactorily completed this assignment. Use these instructions to ensure you demonstrate the required knowledge.

Throughout this assignment instructions are provided which are similar to workplace procedures. Follow the instructions provided for each task of this assignment.

To perform this assessment you will need to access to files that are referenced in the assessment. These include;

- Assignment – Data in the workplace (this document)

- Standard Operating Procedures (SOP’s) for data handling

- Field record sheets (Appendix B of this document)

- Assignment database (your teacher will provide the file location)

To administer the assessment you will need to provide the student with a copy of this assignment in conjunction with access to the database so the student can start to work with the tasks.

### Assessment products (what you will need to submit for marking)

- Electronic copy of the database report (pdf) – for Part 4

- Hardcopy of this document with written answers – for Parts 5 and 6

### File naming conventions

Name your files in the following way;

Unit code- assessment part-your name-due date

So, as an example, all files should be named so they look like this;

MS924003-Part123-Jill-Civillian-20-12-2018

MS924003-Part4-Jill-Civillian-20-12-2018

#### Part 1 – Retrieving, storing and transcribing data

#### You cannot work on data you don’t have so the first task involves retrieving the data, which will be stored in a Microsoft Access™ database. You will add data from physical data sheets to the database. This will also need to be stored (saved), so that you have a stable version to work with.

#### Use the following procedure to complete this task:

- Open Microsoft Access™ on your computer

- Your teacher will provide the file location. Navigate to the file location on your computer or network

- Open the Table titled G1S1 from the Object pane. A large data set should appear as in the screenshot below;

#### Figure 1 – What you should see when you open the correct table in MS Access™. © TAFE NSW

- Refer to the four field record sheets found in Appendix A of this document. This contains the data you need to enter.

- Enter the data from the field record sheets into the database (use new row at bottom). This will need to be done for ALL record sheets (that is, four new rows of data). Not all of the data on the sheets is required. Only enter the required data.

- Check that you have entered the data correctly into the database from the field record sheets.

- Save the database when complete.

#### Check your progress

| Have you…? |  |
| --- | --- |
| Entered the required data into the database? | ☐ |
| Have you saved (stored) the files to work on? | ☐ |
| Does your work look like the example below? | ☐ |

#### Figure 3 – Screenshot of what your database should look like upon completion of this part of the assessment.

A successful attempt at this task will yield a database record that looks like the screenshot below (Example only - ALL data required);

Figure 1 – Answer. © TAFE NSW

#### Part 2 – Data quality control

#### We now have the data in a database, but the formatting of the data is completely incorrect and needs to be ‘cleaned’ and checked.

#### Use the following procedure to complete this task:

- Open the database if it is not already. Export the data to an Excel spreadsheet (from the External Data tab, export group), named G1S1 to a folder on your computer.

- Open the spreadsheet to start work on it (if it didn’t open automatically for you).

- For all the data on the spreadsheet, use the Data Quality Control (QC) Checklist (below) to ensure that the data is in the correct format.

- If the data is incorrect or improperly formatted (in accordance with Table 1 below), rectify the data in the spreadsheet accordingly.

- Tick the checkbox in the table when you have completed each check, including Rules 1-3.

#### Data Quality Control (QC) procedure checklist

| Data QC Table |  |  |  |  |
| --- | --- | --- | --- | --- |
| Parameter | Style/Rule | Notes | Expected range | Actioned/Checked? |
| Site ID | Capitals | e.g. G1S1 | n/a | ☐ |
| Date | dd/mm/yy | 01/12/08 | n/a | ☐ |
| Temperature | 1 decimal place | °C | 0-50 | ☐ |
| DO2 | 1 decimal place | DO2 in mg/L | 0-20 | ☐ |
| Conductivity | 3 decimal place | mS.cm-1 | 0-60 | ☐ |
| pH | 1 decimal place | Unitless | 0-14 | ☐ |
| Turbidity | 0 decimal place | NTU | 0-1000 | ☐ |
| ORP | 0 decimal place | mV | -500-500 | ☐ |
| Nitrate | 1 decimal place | mg/L | 0-50 | ☐ |
| Phosphate | 1 decimal place | mg/L | 0-10 | ☐ |
| Rule 1 – Remove all wildcards. Change all ‘<1’signs to ‘0.5’ so that a number is recorded. |  |  |  | ☐ |
| Rule 2 – remove all text items (such as ‘dry site’) |  |  |  | ☐ |
| Rule 3 – Make all empty cells a minus sign (so we know it is meant to be empty) |  |  |  | ☐ |

#### Table 1 – Data formatting requirements

#### Check your progress

Have you…?

| Downloaded the files to work on? | ☐ |
| --- | --- |
| Checked all the data to verify the quality? | ☐ |
| Rectified errors to ensure quality? | ☐ |
| Does your work look like the example above? | ☐ |

#### Figure 2 – How your sheet should look at the end of Task 2 [© TAFE NSW]

#### Figure 2 – How your sheet should look at the end of Task 2 [© TAFE NSW]

A successful attempt at this task will yield a database record that looks like the screenshot below. The complete ‘correct answer’ reference data sheet is located in the Appendix.

Figure 2 – Answer. © TAFE NSW

Data Quality Control (QC) procedure checklist

Table 1 – Data formatting requirements

| Data QC Table |  |  |  |  |
| --- | --- | --- | --- | --- |
| Parameter | Style/Rule | Notes | Expected range | Actioned/Checked? |
| Site ID | Capitals | e.g. G1S1 | n/a | ☒ |
| Date | dd/mm/yy | 01/12/08 | n/a | ☒ |
| Temperature | 1 decimal place | °C | 0-50 | ☒ |
| DO2 | 1 decimal place | DO2 in mg/L | 0-20 | ☒ |
| Conductivity | 3 decimal place | mS.cm-1 | 0-60 | ☒ |
| pH | 1 decimal place | Unitless | 0-14 | ☒ |
| Turbidity | 0 decimal place | NTU | 0-1000 | ☒ |
| ORP | 0 decimal place | mV | -500-500 | ☒ |
| Nitrate | 1 decimal place | mg/L | 0-50 | ☒ |
| Phosphate | 1 decimal place | mg/L | 0-10 | ☒ |
| Rule 1 – Remove all wildcards. Change all ‘<1’signs to ‘0.5’ so that a number is recorded. |  |  |  | ☒ |
| Rule 2 – remove all text items (such as ‘dry site’) |  |  |  | ☒ |
| Rule 3 – Make all empty cells a minus sign (so we know it is meant to be empty) |  |  |  | ☒ |

#### Part 3 – Descriptive statistics

Now that the data sheet has been updated and checked for quality, we can start to analyse the data using descriptive statistics.

- Open the spreadsheet named G1S1

- At the end of every column of data, use the appropriate functions to find their values.

- Use the cell format function to ensure each statistical value you calculate has significant figures consistent with the data.

| Statistical measure | Function in Excel | Comments |
| --- | --- | --- |
| Mean (Average) | =AVERAGE(data range) |  |
| Median | =MEDIAN(data range) |  |
| Mode | =MODE(data range) |  |
| Max | =MAX(data range) |  |
| Min | =MIN(data range) |  |
| Range | =MAX cell – MIN cell | Manual calculation – no function! |
| Standard Deviation (sample) | =STDEV(data range) |  |
| Variance | =VAR(data) |  |

Table 2 – List of statistical measures required to determine and the function in Excel.

#### Check your progress

| Have you…? |  |
| --- | --- |
| Located the file to work on? | ☐ |
| Saved (stored) your work? | ☐ |
| Checked that your work look like the example below? | ☐ |

#### Figure 4 – What your worksheet should like upon completion of Part 4 (note that the values are wrong, so don’t trust them). © TAFE NSW

A successful attempt at this task will yield a spreadsheet similar to the screenshot below. The formatting of the sheet does not matter, only the accuracy of the results.

Figure 4 – Answer. © TAFE NSW

#### Part 4 – Reporting

With the data from the field record sheets now stored in the database, you now need to generate a report using the databases built in reporting wizard (or similar if not using Access database software). Reports are incredibly useful (if you spend a lot of time creating them properly), but we will only go through the cursory actions to show you how the default reports are created.

Task

The New South Wales Environmental Protection Authority (EPA) sets a business owners license limit for nitrate ions being released into a receiving body of water at 5 mg/L. Generate a report of the data that equals or exceeds this legal limit.

Use the following procedure to complete the task:

- Open the G1S1 table from your database

- Select the Nitrate column by clicking the column header

- From the Home menu, choose the ‘Advanced’ filter in the Sort & Filter group.

- Choose Advanced Filter/Sort from the dropdown menu. A new tab appears called ‘G1S1Filter1’. Nitrate should already be displayed in the lower part of the screen, but you should see the following;

- Type ‘>5’ (without the apostrophes) into the ‘Criteria’ cell.

- From the Home menu, choose Advanced again and select the ‘Apply Filter/Sort’ option. You should see that the data has been significantly reduced and you still see all the measurand, not just Nitrate.

- From the Create menu, choose the Report Wizard option in the Reports group.

- Click ‘Yes’ to save the table. This will display the wizard’s first dialogue box.

- Choose Nitrate from the list and then click the ‘>’ button, and then click Next

- Ignore the Sort options and choose Next

- Ignore the Layout and Orientation options and choose Next

- Change the title to ‘Nitrate results’ and keep ‘Preview the report’ option checked.

- Click Finish button to create the report.

- Save your work and close the Preview window.

- You have now created the report inside the database. You now need to export the report in a format that can be used by anyone.

- Open the Nitrate report from Objects pane (left side of screen).

- On the External Data menu tab, click the PDF or XPS button from the Export group

- Choose the file location you want save the file to.

- Click the Publish button to create your file as a PDF

Submit for marking

Information in workplaces requires the adherence to workplace confidentiality procedures. For this assessment, you are to;

- Email the pdf report to your teacher adhering to workplace confidentiality standards

- Use a ‘confidentiality disclaimer sentence in the email footer such as;

“This email and any files transmitted with it are confidential and intended solely for the use of the individual or entity to whom they are addressed. If you are not the named addressee, you should not disseminate, distribute or copy this email. Please notify the sender immediately by email if you have received this email by mistake and delete this email from your system.”

Successful completion of this part of the assessment will yield a pdf report that looks like the screenshot below;

Figure 4 – Answer. © TAFE NSW

Figure 4 – Continued. © TAFE NSW

Part 4 – Question 20

Students are required to provide the report in an email to their assessor with the confidentiality component enbedded in the footer of the email such as in the exaple screenshot below;

Figure 5 – Answer. © TAFE NSW

#### Part 5 – Calculating scientific quantities

This part of the assessment is about performing laboratory related calculations using common formulas. This Part of the assessment is broken into 5 parts, Part A – Part E) to complete. All parts must be completed. Working out does not need to be provided by the student.

Part 5A – Ratio and percentage

In this task, you are required to perform a variety of ratio and percentage calculations. The typical work here is simply expressing an analytical result as a percentage. Consider the following scenarios application and answer the questions below.

- Determine the dilution factor (DF) used in a dilution using the data below. Express your answer as a ratio to 1 significant figure. Write your answer in the space below;

C1		=	1000 mg/L

V1		=	10 mL

C2		=	100 mg/L

V2		=	100 mL

DF 		= (either) V2/V1 or C1/C2

=	10

=	1x101 (scientific notation for 10 to 1 significant figure)

- Express 5 grams of substance dissolved in 100 mL of water as a percentage (include appropriate unit).

%=  low/high×100

% 			= 5/100*100

%			=	5 %w/v

- During the preparation of a solution of diluted ethanol, 20 mL of ethanol was added to a 100 mL volumetric flask and made to volume. Calculate the percentage of ethanol in the flask. Express your answer as a whole number.

%			=  	Vol. EtOH / Vol. flask × 100

% 			= 	20/100*100

%			=	20 %v/v

- What size volumetric flask was used in the preparation of a 25% ethanol solution if 50 mL of ethanol was transferred?

Volume	=	EtOH x 100 / %

=	50 x 100/25

=	200 mL OR 0.2 L

- What volume of ethanol was used in making 0.5 L of a 15% ethanol solution?

Vol. EtOH	=	15% x 0.5 L / 100

=	15 x 0.5 / 100

=	0.075 L OR 75 mL

- Calculate the percentage of salt if 5 g of salt is dissolved into a 250 mL volumetric flask. Express to 1 significant figure with appropriate unit.

%			=	salt mass / flask volume × 100

% 			= 	5/250*100

%			=	2 %w/v (1 s.f)

Part 5B – Solution preparation

Regardless of the specific laboratory industry, the preparation of working solutions is a critical task. In this task, you are required to perform a variety of calculations to determine solution characteristics and express results in different units and forms, ensuring significant figures and results formats are expressed correctly.

To analyse nitrate ions (NO3-) in a solution, special solutions of a known nitrate concentration (termed standard solutions) need to be prepared. In this scenario, you have been provided with the following data about a standard solution:

- Volume			=	500 mL

- Concentration			=	1 g/L NaNO3

- Formula weight NaNO3	=	85 amu

Use your skills and knowledge to perform the calculations requested below;

1.	Calculate the mass of the salt used to make up the solution. Express your answer to 2 significant figures.

m			=	C*V

=	1*0.5 (volume must be expressed in litres)

=	0.5 g

=	5 x 10-1 g (1 s.f)

2.	Calculate how many moles of NaNO3 the mass is equivalent to. Express your answer to 2 significant figures.

Moles		=	mass / formula weight

=	0.5/85

=	0.005882

=	5.9 x 10-3 mol. (2 s.f)

3.	Calculate the molarity of the solution. Express your answer to 2 significant figures.

Molarity 	=	moles / volume (L)

=	0.005882 / 0.5 (L)

=	0.011765

=	1.2 x 10-2 M (2 s.f)

4.	Express the concentration as %w/v to 2 significant figures.

%			=  	mass salt / Vol. flask × 100

% 			= 	0.5 / 100 * 100

%			=	0.5 w/v

Part 5C – Moisture and ash determination

There are many substances that require the determination of moisture and ash content including biological samples, food materials, environmental samples and the like. In this scenario, you are provided with a common workplace form used in these determinations.

- A laboratory technician has performed a moisture analysis on fruit sample. Using the data from the table below, calculate the missing values. Assume all weighing was repeated until a constant mass was achieved.

Table 3 Assessment instructions

| Sample | Value (g), (%) |
| --- | --- |
| Before drying in the oven |  |
| a) Mass of container | 6.4106 |
| b) Mass of container + sample | 16.4652 |
| c) Mass of sample [=b-a] | 10.0546 |
| After drying in the oven |  |
| d) Mass of container + sample | 8.6542 |
| e) Mass of sample [=d-a] | 2.2436 |
| f) Mass of moisture lost [=c-e] | 7.8110 |
| g) % moisture [=f/c*100] | 78% |

- Another technician performed an ash analysis on the sample. Undertake the appropriate calculations and complete the table below.

Table 4 Assessment instructions

| Sample | Value (g), (%) |
| --- | --- |
| Before drying in the furnace |  |
| a) Mass of crucible + lid | 16.4487 |
| b) Mass crucible + lid + sample | 21.8764 |
| c) Mass of sample [=b-a] | 5.4277 |
| After drying in the furnace |  |
| d) Mass crucible + lid + sample | 16.4899 |
| e) Mass of ash [=d-a] | 0.0412 |
| f) Mass of sample lost [=c-e] | 5.3865 |
| g) % Ash [=f/c*100] | 0.76% |

Part 5D - Process control calculations

Many laboratories service the manufacturing industry as part of their Quality Assurance. In these processes, various calculations need to be performed. In this example, you are required to calculate process variables such as dilution, flowrates and change calculations involving proportionality equations.

A chemical manufacturing process produces disinfection agents for the laboratory industry. Perichlor has an active ingredient concentration of 0.12% chlorhexidine gluconate.

Figure 6 - Example of an industrial chemical process. [Source]

- If the initial 1000L tank of product has a chlorhexidine concentration of 4.8%, calculate the transfer volume of initial product required to ensure a final concentration of 0.12%.

C1		=	4.8%

V1		=	?

C2		=	0.12%

V2		=	1000L

V1		=	0.12*1000/4.8

=	25 L

- Calculate the dilution factor for this prepared solution. Express this as a ratio.

DF		=	1000/25

=	40 (Unitless)

=	40:1

- If the volume you calculated in question 1 above took 40 seconds to transfer, calculate the flowrate of the pump in L/min?

Q	=	v/t

=	25/40

=	0.625 L/s

=	0.625*60

=	37.5 L/min

Part 5E – Error and uncertainty

Expressing error and uncertainty is a basic requirement in laboratory work. In this part of the, assessment you will be determining the errors and uncertainties associated with repeated measurements of standard materials. Use the data set below to calculate the required values.

Table 5 - Data set for calculating errors in task below.  NOTE: ‘cfu’ stands for ‘colony forming units’.

| Measurand | Reading 1 | Reading 2 | Reading 3 | Reading 4 | True value |
| --- | --- | --- | --- | --- | --- |
| Conductivity | 6.64 | 6.59 | 6.68 | 6.67 | 6.67 mS.cm-1 |
| Nitrate | 3.9 | 3.8 | 3.9 | 3.9 | 4.0 mg/L |
| E.Coli (CRM) | 72 | 84 | 69 | 73 | 50-80 cfu |
| pH | 6.9 | 6.9 | 6.9 | 7.0 | pH 7.0 |
| DO (% sat) | 84 | 116 | 95 | 108 | 100 % |

Task

- Complete the following table of results by performing the calculations required.

Table 6 - Data set for calculating errors in task below.  NOTE: ‘cfu’ stands for ‘colony forming units’.

| Measurand | Average (reported value) | Absolute error | % Relative error | Range | Absolute precision | % Relative precision |
| --- | --- | --- | --- | --- | --- | --- |
| Conductivity | 6.65 | -0.03 | -0.37 | 0.09 | 0.04 | 0.68 |
| Nitrate | 3.88 | -0.13 | -3.13 | 0.10 | 0.05 | 1.29 |
| E.Coli (CRM) | 74.50 | 9.50 | 14.62 | 15.00 | 7.50 | 10.07 |
| pH | 6.93 | -0.07 | -1.07 | 0.10 | 0.05 | 0.72 |
| DO (% sat) | 100.75 | 0.75 | 0.75 | 32.00 | 16.00 | 15.88 |

- Which measurand exhibits the best accuracy*? How did you determine this**?

*The best accuracy is found with the conductivity measurements.

**This is determined by the relative error as the absolute error can only apply to the specific measurand whereas the relative error can be compared to any measure.

- Which measurand exhibits the best precision? How did you determine this?

The best precision is found with conductivity measurements.

****This is determined by the relative precision as the absolute precision can only apply to the specific measurand whereas the relative error can be compared to any measure.

- Which measurand has the lowest range?

Conductivity

#### Part 6 – Graphs and interpretation

Now that we have summarised the data statistically, we can use this data to perform further analysis. In this task, you will use the data to perform further data analysis.

- Complete the following table using the turbidity data.

- Produce a tally from the data table below and plot the frequency histogram of the data

Table 7 - Data set for calculating errors in task below.  NOTE: ‘cfu’ stands for ‘colony forming units’.

| Bin | Frequency |
| --- | --- |
| <50 | 111 |
| 51-100 | 13 |
| 101-150 | 3 |
| 151-200 | 0 |
| 201-250 | 1 |
| 251-300 | 1 |
| 351-400 | 0 |
| 401-450 | 0 |
| 451-500 | 0 |
| 501-550 | 0 |
| >551 | 0 |

Figure 7 – Suggested answer. (C) TAFE NSW

- Using the G1S1 Excel datasheet, create one line chart of Temperature and Dissolved oxygen data (both lines on the one graph) for the years of 2003 and 2004. Ensure you apply the following formatting;

  - Chart title “Plot of Temperature (°C) versus Dissolved Oxygen (mg/L)”. Use different lines (that is, different colours or line styles (dashes, dots)) to differentiate between the lines.

  - X axis title of “Date”

  - Y axis title of “Measurement”

  - Legend, position at bottom of chart

  - Put in appropriate ‘scales’ for the y-axis

Figure 8 – Suggested answer. (C) TAFE NSW

- Take a close look at the graph you made in Question 3 (above).

  - Is there a trend? If so, briefly describe the trend.

Yes. Dissolved oxygen appears to be trending downwards

  - Is there a pattern? If so, briefly describe how the pattern repeats.

Yes. Both appear to have a cyclic up and down pattern to them

- Based on the graph’s appearance, provide a brief interpretation of the relationship between temperature and dissolved oxygen. What happens to one measurement when the other measurement changes?

When temperature gets high, the dissolved oxygen gets lower. This would indicate that the two are related in some way.

NOTE: The students are NOT expected to understand the physical chemistry associated with this data set. They are only required to see the trends, patterns and relationship between the data.

- The scatterplot below uses the same data as you used in the line graph above. How does this graph help you confirm or reject your answer to question 5 above?

Figure 9 – Suggested answer. (C) TAFE NSW

Correlations can be directly or indirectly proportional. This is mildly negatively proportional which means that as one value increases the other decreases. This graph helps confirm there is a relationship between the data.

## Part 5: Assessment Checklist

The following checklist will be used by your assessor to mark your performance against the assessment criteria of your submitted/presented project. Use this checklist to understand what skills and/or knowledge you need to demonstrate in your submission/presentation. All the criteria described in the Assessment Checklist must be met. The assessor may ask questions while the submission/presentation is taking place or if appropriate directly after the task/activity has been submitted/completed.

| TASK/STEP # | Instructions | S | U/S | Assessor Comments |
| --- | --- | --- | --- | --- |
| Part 1 | Retrieving, storing and transcribing data Entered correct data from the field sheets to Access database Saved database correctly |  |  | Date of Observation: Student has entered and saved information into Microsoft Access as per completed benchmark example. Copy of table G1S1 completed to benchmark example was submitted electronically |
| Part 2 | Data quality control Student formatted the data sheet following the checklist provided. |  |  | Date of Observation: Student has exported data from Microsoft Access to Microsoft Excel as per completed benchmark example Student has completed Quality Control checklist in particular rules 1, 2 and 3 as per benchmark provided |
| Part 3 | Descriptive statistics Student performed statistical calculations on data set Answers reported to correct significant figures |  |  | Date of Observation: Student has calculated statistical values in G1S1 spreadsheet as per completed benchmark example |
| Part 4 – | Reporting Student completed tasks 1-8 to prepare data for the Report Wizard and saved Student completed tasks 9-19 to produce a pdf report for Nitrate exceedances Student emailed pdf report to teacher using appropriate confidentiality statement |  |  | Date of Observation: Student has emailed correct pdf report with confidentiality statement. |
| Part 5A-5E | Student answered questions |  |  | Date of Observation: Student has completed questions as per benchmark responses provided |
| Part 6 – | Graphs and interpretation Student answered questions 1-6 |  |  | Date of Observation: Student has completed questions as per benchmark responses provided |

# Appendix A – Field Record Sheets

## Record 1

## Figure 10 – Example dataset answer. © TAFE NSW

## Record 2

## Figure 11 – Example dataset answer. © TAFE NSW

## Record 3

## Figure 12 – Example dataset answer. © TAFE NSW

## Record 4

Figure 13 - Example dataset answer. © TAFE NSW

# Appendix B – Field Record Sheets

# Figure 14 - Example dataset answer. © TAFE NSW

## Database results sheet

## Figure 14 – Continued

## Figure 14 – Continued

## Assessment Feedback

NOTE: This section must have the assessor signature and student signature to complete the feedback.

### Assessment outcome

☐ Satisfactory

☐ Unsatisfactory

### Assessor Feedback

☐ Was the assessment event successfully completed?

☐ If no, was the resubmission/re-assessment successfully completed?

☐ Was reasonable adjustment in place for this assessment event?
If yes, ensure it is detailed on the assessment document.

Comments:

### Assessor name, signature and date:

### Student acknowledgement of assessment outcome

Would you like to make any comments about this assessment?

### Student name, signature and date

NOTE: Make sure you have written your name at the bottom of each page of your submission before attaching the cover sheet and submitting to your assessor for marking.